## 20220801
Helium-Neon laser wavelength: | λ (HeNe) | 0.6328 µm |  | Range of dist. between each fringe: 0.3 µm
HIRMES High-Resolution Long-Wavelength FPI: | with direct PZT drive & without motion multiplier
Arduino v.1.8.15 | Program Title: | Bridge_Controller_GSFC_testing | Notes: | Arduino DAQ Stepping Program, program allows you to make voltage steps. Use BNC capacitor bridge feedback cable concurrently to stabilize step size
Micro-Epsilon details:
Software used: DT6200 Tool | Target Capacitive Spacing: | Physical Measurement of CH1 Cap Spacing: | Sample time: 9600 µs | Measurement rate: 104.167 Hz
| 1000µm | 1270µm
0.05"
Corresponding Raw M-E Time Series Data File:
Notes on Corresponding M-E Time Series Data Files:
DAQ-Start-Time:
First Protocol Time Stamp:
Last Protocol Time Stamp:
Controller name: DT6220 | Controller serial number: 2073 | Controller software version: 1.2d | Controller option: 0 | Controller article number: 4105032 | Firmware version: DT6200;V1.4f;8010079 | Average type: 3 | Average count: 7 | Sample time: 9600 µs | Measurement rate: 104.167 Hz
Channel 1
Controller name: DT6220 | Sensor name: DL6230/ECL2 | Serial number: 1439 | Article number: 2303024 | Range: 2000 | Unit: µm | Transmission: on | Math offset (µm): 0.000
Channel 2
Controller name: DT6220 | Sensor name: DL6230/ECL2 | Serial number: 1440 | Article number: 2303024 | Range: 2000 | Unit: µm | Transmission: on | Math offset (µm): 0.000
| Cap. Bridge (bit) | Voltage steps | V(PZT) | V(PZT) | Voltage diff. | real_V | CH1 M-E Sensor | CH1 ME_D | CH1 ME_A_dis | CH2 M-E Sensor | CH2 ME_D | CH2 ME_A_dis | Fringes | Fringe_D | fringe_A_dis | Time | Notes
|  |  | (before code)(monitor) | (after code)(monitor)
$H:Z^ | 29362 |  | -0.001 | 0.408 | 0.409 | 4.08 | 1359.07 |  |  | 1317.85 | [5 empty] | 3:11
$H:S:29362:2:29762:70^ | 29762 | 400 | 0.425 | 1.498 | 1.073 | 14.98 | 1365.66 | 6.59 | 6.59 | 1324.32 | 6.47 | 6.47 | 20 | 6.328 | 6.328 | 3:17 | fringes are shaky and vibrate up and down
| 30162 | 400 | 1.46 | 2.271 | 0.811 | 22.71 | 1372.21 | 6.55 | 13.14 | 1330.71 | 6.39 | 12.86 | 20 | 6.328 | 12.656 | 3:19
| 30562 | 400 | 2.251 | 3.028 | 0.777 | 30.28 | 1378.81 | 6.6 | 19.74 | 1337.14 | 6.43 | 19.29 | 21 | 6.6444 | 19.3004 | 3:21
| 30962 | 400 | 2.987 | 3.793 | 0.806 | 37.93 | 1385.48 | 6.67 | 26.41 | 1343.63 | 6.49 | 25.78 | 23 | 7.2772 | 26.5776 | 3:24
| 31362 | 400 | 3.734 | 4.51 | 0.776 | 45.1 | 1392.17 | 6.69 | 33.1 | 1350.14 | 6.51 | 32.29 | 21 | 6.6444 | 33.222 | 3:26
| 31762 | 400 | 4.45 | 5.22 | 0.77 | 52.2 | 1398.9 | 6.73 | 39.83 | 1356.68 | 6.54 | 38.83 | 22 | 6.9608 | 40.1828 | 3:28
| 32162 | 400 | 5.11 | 5.91 | 0.8 | 59.1 | 1405.64 | 6.74 | 46.57 | 1363.25 | 6.57 | 45.4 | 19 | 6.0116 | 46.1944 | 3:31
| 32562 | 400 | 5.85 | 6.64 | 0.79 | 66.4 | 1412.41 | 6.77 | 53.34 | 1369.84 | 6.59 | 51.99 | 23 | 7.2772 | 53.4716 | 3:34
| 32962 | 400 | 6.57 | 7.31 | 0.74 | 73.1 | 1419.17 | 6.76 | 60.1 | 1376.41 | 6.57 | 58.56 | 24 | 7.5936 | 61.0652 | 3:35 | fringes sped in the opposite direction, then resumed motion to the right side
| 33362 | 400 | 7.27 | 8.19 | 0.92 | 81.9 | 1427.12 | 7.95 | 68.05 | 1384.15 | 7.74 | 66.3 | 24 | 7.5936 | 68.6588 | 3:38 | fringes stopped shaky motion during scanning
| 33762 | 400 | 8.11 | 9.03 | 0.92 | 90.3 | 1435.09 | 7.97 | 76.02 | 1391.9 | 7.75 | 74.05 | 25 | 7.91 | 76.5688 | 3:40
$H:S:33762:-2:33362:70^ | 33362 | -400 | 8.97 | 7.46 | -1.51 | 74.6 | 1427.11 | -7.98 | 68.04 | 1384.15 | -7.75 | 66.3 | -28 | -8.8592 | 67.7096 | 3:41
| 32962 | -400 | 7.47 | 6.21 | -1.26 | 62.1 | 1419.16 | -7.95 | 60.09 | 1376.42 | -7.73 | 58.57 | -26 | -8.2264 | 59.4832 | 3:44
| 32562 | -400 | 6.24 | 5.29 | -0.95 | 52.9 | 1412.4 | -6.76 | 53.33 | 1369.86 | -6.56 | 52.01 | -24 | -7.5936 | 51.8896 | 3:46 | fringes were shaky for a bit and moved to the right before resuming to the left
| 32162 | -400 | 5.31 | 4.38 | -0.93 | 43.8 | 1405.63 | -6.77 | 46.56 | 1363.29 | -6.57 | 45.44 | -22 | -6.9608 | 44.9288 | 3:49
| 31762 | -400 | 4.43 | 3.568 | -0.862 | 35.68 | 1398.9 | -6.73 | 39.83 | 1356.75 | -6.54 | 38.9 | -21 | -6.6444 | 38.2844 | 3:51
| 31362 | -400 | 3.617 | 2.799 | -0.818 | 27.99 | 1392.18 | -6.72 | 33.11 | 1350.23 | -6.52 | 32.38 | -22 | -6.9608 | 31.3236 | 3:53
| 30962 | -400 | 2.841 | 2.069 | -0.772 | 20.69 | 1385.51 | -6.67 | 26.44 | 1343.75 | -6.48 | 25.9 | -23 | -7.2772 | 24.0464 | 3:55
| 30562 | -400 | 2.123 | 1.383 | -0.74 | 13.83 | 1378.85 | -6.66 | 19.78 | 1337.28 | -6.47 | 19.43 | -24 | -7.5936 | 16.4528 | 3:58
| 30162 | -400 | 1.435 | 0.709 | -0.726 | 7.09 | 1372.26 | -6.59 | 13.19 | 1330.88 | -6.4 | 13.03 | -23 | -7.2772 | 9.1756 | 4:00
| 29762 | -400 | 0.771 | 0.066 | -0.705 | 0.66 | 1365.73 | -6.53 | 6.66 | 1324.55 | -6.33 | 6.7 | -22 | -6.9608 | 2.2148 | 4:02
| 29362 | -400 | 0.125 | -0.553 | -0.678 | -5.53 | 1359.23 | -6.5 | 0.16 | 1318.23 | -6.32 | 0.38 | -23 | -7.2772 | -5.0624 | 4:03
| 28962 | -400 | -0.468 | -1.15 | -0.682 | -11.5 | 1352.78 | -6.45 | -6.29 | 1311.97 | -6.26 | -5.88 | -24 | -7.5936 | -12.656 | 4:06
| 28562 | -400 | -1.081 | -1.744 | -0.663 | -17.44 | 1346.26 | -6.52 | -12.81 | 1305.63 | -6.34 | -12.22 | -21 | -6.6444 | -19.3004 | 4:07
$H:S:28562:-2:28162:70^ | 28162 | -400 | -1.665 | -2.367 | -0.702 | -23.67 | 1339.04 | -7.22 | -20.03 | 1298.63 | -7 | -19.22 | -23 | -7.2772 | -26.5776 | 4:09

## 20220802_2nd_msmnt
Helium-Neon laser wavelength: | λ (HeNe) | 0.6328 µm |  | Range of dist. between each fringe: 0.3 µm
HIRMES High-Resolution Long-Wavelength FPI: | with direct PZT drive & without motion multiplier
Arduino v.1.8.15 | Program Title: | Bridge_Controller_GSFC_testing | Notes: | Arduino DAQ Stepping Program, program allows you to make voltage steps. Use BNC capacitor bridge feedback cable concurrently to stabilize step size
Micro-Epsilon details:
Software used: DT6200 Tool | Target Capacitive Spacing: | Physical Measurement of CH1 Cap Spacing: | Sample time: 9600 µs | Measurement rate: 104.167 Hz
| 1000µm | 1270µm
0.05"
Corresponding Raw M-E Time Series Data File:
Notes on Corresponding M-E Time Series Data Files:
DAQ-Start-Time:
First Protocol Time Stamp:
Last Protocol Time Stamp:
Controller name: DT6220 | Controller serial number: 2073 | Controller software version: 1.2d | Controller option: 0 | Controller article number: 4105032 | Firmware version: DT6200;V1.4f;8010079 | Average type: 3 | Average count: 7 | Sample time: 9600 µs | Measurement rate: 104.167 Hz
Channel 1
Controller name: DT6220 | Sensor name: DL6230/ECL2 | Serial number: 1439 | Article number: 2303024 | Range: 2000 | Unit: µm | Transmission: on | Math offset (µm): 0.000
Channel 2
Controller name: DT6220 | Sensor name: DL6230/ECL2 | Serial number: 1440 | Article number: 2303024 | Range: 2000 | Unit: µm | Transmission: on | Math offset (µm): 0.000
| Cap. Bridge (bit) | Voltage steps | V(PZT) | V(PZT) | Voltage diff. | real_V | CH1 M-E Sensor | CH1 ME_D | CH1 ME_A_dis | CH2 M-E Sensor | CH2 ME_D | CH2 ME_A_dis | Fringes | Fringe_D | fringe_A_dis | Time | Notes
|  |  | (before code)(monitor) | (after code)(monitor)
$H:Z^ | 29324 |  | 0 | 0.376 | 0.376 | 3.76 | 1358.55 |  |  | 1317.24 | [5 empty] | 9:46
$H:S:29324:2:29724:70^ | 29724 | 400 | 0.392 | 1.467 | 1.075 | 14.67 | 1365.17 | 6.62 | 6.62 | 1323.72 | 6.48 | 6.48 | 22 | 6.9608 | 6.9608 | 9:49
| 30124 | 400 | 1.433 | 2.258 | 0.825 | 22.58 | 1371.71 | 6.54 | 13.16 | 1330.08 | 6.36 | 12.84 | 24 | 7.5936 | 14.5544 | 9:51
| 30524 | 400 | 2.217 | 3.012 | 0.795 | 30.12 | 1378.31 | 6.6 | 19.76 | 1336.52 | 6.44 | 19.28 | 22 | 6.9608 | 21.5152 | 9:52
| 30924 | 400 | 2.982 | 3.749 | 0.767 | 37.49 | 1385 | 6.69 | 26.45 | 1343.03 | 6.51 | 25.79 | 21 | 6.6444 | 28.1596 | 9:54
| 31324 | 400 | 3.694 | 4.46 | 0.766 | 44.6 | 1391.69 | 6.69 | 33.14 | 1349.54 | 6.51 | 32.3 | 21 | 6.6444 | 34.804 | 9:55
| 31724 | 400 | 4.4 | 5.16 | 0.76 | 51.6 | 1398.41 | 6.72 | 39.86 | 1356.08 | 6.54 | 38.84 | 20 | 6.328 | 41.132 | 9:57
| 32124 | 400 | 5.1 | 5.87 | 0.77 | 58.7 | 1405.15 | 6.74 | 46.6 | 1362.64 | 6.56 | 45.4 | 20 | 6.328 | 47.46 | 9:58
| 32524 | 400 | 5.81 | 6.57 | 0.76 | 65.7 | 1411.94 | 6.79 | 53.39 | 1369.25 | 6.61 | 52.01 | 21 | 6.6444 | 54.1044 | 10:00
| 32924 | 400 | 6.51 | 7.19 | 0.68 | 71.9 | 1418.59 | 6.65 | 60.04 | 1375.72 | 6.47 | 58.48 | 17 | 5.3788 | 59.4832 | 10:01 | fringes sped by in opposite direction to the left, then resumed to the right
| 33324 | 400 | 7.15 | 8.1 | 0.95 | 81 | 1426.54 | 7.95 | 67.99 | 1383.46 | 7.74 | 66.22 | 23 | 7.2772 | 66.7604 | 10:06
| 33724 | 400 | 8.03 | 8.97 | 0.94 | 89.7 | 1434.5 | 7.96 | 75.95 | 1391.21 | 7.75 | 73.97 | 23 | 7.2772 | 74.0376 | 10:08
$H:S:33724:-2:33324:70^ | 33324 | -400 | 8.81 | 7.33 | -1.48 | 73.3 | 1426.53 | -7.97 | 67.98 | 1383.49 | -7.72 | 66.25 | -22 | -6.9608 | 67.0768 | 10:13
| 32924 | -400 | 7.36 | 6.11 | -1.25 | 61.1 | 1418.57 | -7.96 | 60.02 | 1375.75 | -7.74 | 58.51 | -24 | -7.5936 | 59.4832 | 10:16
| 32524 | -400 | 6.13 | 5.2 | -0.93 | 52 | 1411.93 | -6.64 | 53.38 | 1369.31 | -6.44 | 52.07 | -23 | -7.2772 | 52.206 | 10:18 | fringes shifted to the right, then resumed normally to the left
| 32124 | -400 | 5.23 | 4.3 | -0.93 | 43 | 1405.14 | -6.79 | 46.59 | 1362.73 | -6.58 | 45.49 | -21 | -6.6444 | 45.5616 | 10:22
| 31724 | -400 | 4.34 | 3.497 | -0.843 | 34.97 | 1398.39 | -6.75 | 39.84 | 1356.18 | -6.55 | 38.94 | -21 | -6.6444 | 38.9172 | 10:24
| 31324 | -400 | 3.527 | 2.716 | -0.811 | 27.16 | 1391.69 | -6.7 | 33.14 | 1349.67 | -6.51 | 32.43 | -20 | -6.328 | 32.5892 | 10:26
$H:S:31324:-2:30924:70^ | 30924 | -400 | 2.769 | 1.988 | -0.781 | 19.88 | 1385.03 | -6.66 | 26.48 | 1343.2 | -6.47 | 25.96 | -20 | -6.328 | 26.2612 | 10:27
$H:S:30924:-2:30524:70^ | 30524 | -400 | 2.042 | 1.3 | -0.742 | 13 | 1378.37 | -6.66 | 19.82 | 1336.74 | -6.46 | 19.5 | -19 | -6.0116 | 20.2496 | 10:29
$H:S:30524:-2:30124:70^ | 30124 | -400 | 1.347 | 0.636 | -0.711 | 6.36 | 1371.77 | -6.6 | 13.22 | 1330.33 | -6.41 | 13.09 | -22 | -6.9608 | 13.2888 | 10:31
$H:S:30124:-2:29724:70^ | 29724 | -400 | 0.697 | 0.013 | -0.684 | 0.13 | 1365.24 | -6.53 | 6.69 | 1323.99 | -6.34 | 6.75 | -20 | -6.328 | 6.9608 | 10:33
$H:S:29724:-2:29324:70^ | 29324 | -400 | 0.067 | -0.608 | -0.675 | -6.08 | 1358.74 | -6.5 | 0.19 | 1317.68 | -6.31 | 0.44 | -20 | -6.328 | 0.6328 | 10:35
$H:S:29324:-2:28924:70^ | 28924 | -400 | -0.523 | -1.188 | -0.665 | -11.88 | 1352.3 | -6.44 | -6.25 | 1311.43 | -6.25 | -5.81 | -21 | -6.6444 | -6.0116 | 10:38
$H:S:28924:-2:28524:70^ | 28524 | -400 | -1.132 | -1.809 | -0.677 | -18.09 | 1345.69 | -6.61 | -12.86 | 1305.02 | -6.41 | -12.22 | -21 | -6.6444 | -12.656 | 10:40 | fringes stopped shifting very quickly then resumed to shifting
$H:S:28524:-2:28124:70^ | 28124 | -400 | -1.737 | -2.41 | -0.673 | -24.1 | 1338.47 | -7.22 | -20.08 | 1298.01 | -7.01 | -19.23 | -22 | -6.9608 | -19.6168 | 10:42

## 20220802_3rd_msmnt
Helium-Neon laser wavelength: | λ (HeNe) | 0.6328 µm |  | Range of dist. between each fringe: 0.3 µm
HIRMES High-Resolution Long-Wavelength FPI: | with direct PZT drive & without motion multiplier
Arduino v.1.8.15 | Program Title: | Bridge_Controller_GSFC_testing | Notes: | Arduino DAQ Stepping Program, program allows you to make voltage steps. Use BNC capacitor bridge feedback cable concurrently to stabilize step size
Micro-Epsilon details:
Software used: DT6200 Tool | Target Capacitive Spacing: | Physical Measurement of CH1 Cap Spacing: | Sample time: 9600 µs | Measurement rate: 104.167 Hz
| 1000µm | 1270µm
0.05"
Corresponding Raw M-E Time Series Data File:
Notes on Corresponding M-E Time Series Data Files:
DAQ-Start-Time:
First Protocol Time Stamp:
Last Protocol Time Stamp:
Controller name: DT6220 | Controller serial number: 2073 | Controller software version: 1.2d | Controller option: 0 | Controller article number: 4105032 | Firmware version: DT6200;V1.4f;8010079 | Average type: 3 | Average count: 7 | Sample time: 9600 µs | Measurement rate: 104.167 Hz
Channel 1
Controller name: DT6220 | Sensor name: DL6230/ECL2 | Serial number: 1439 | Article number: 2303024 | Range: 2000 | Unit: µm | Transmission: on | Math offset (µm): 0.000
Channel 2
Controller name: DT6220 | Sensor name: DL6230/ECL2 | Serial number: 1440 | Article number: 2303024 | Range: 2000 | Unit: µm | Transmission: on | Math offset (µm): 0.000
| Cap. Bridge (bit) | Voltage steps | V(PZT) | V(PZT) | Voltage diff. | real_V | CH1 M-E Sensor | CH1 ME_D | CH1 ME_A_dis | CH2 M-E Sensor | CH2 ME_D | CH2 ME_A_dis | Fringes | Fringe_D | fringe_A_dis | Time | Notes
|  |  | (before code)(monitor) | (after code)(monitor)
$H:Z^ | 29049 |  | 0 | -0.068 | -0.068 | -0.68 | [9 empty] | 11:09
| 29449 | 400 | -0.0065 | 0.969 | 0.9755 | 9.69 | 1360.68 |  |  | 1319.51 |  |  | 18 | 5.6952 | 5.6952 | 11:11
| 29849 | 400 | 0.939 | 1.735 | 0.796 | 17.35 | 1367.22 | 6.54 | 6.54 | 1325.87 | 6.36 | 6.36 | 17 | 5.3788 | 11.074 | 11:12
| 30249 | 400 | 1.712 | 2.497 | 0.785 | 24.97 | 1373.79 | 6.57 | 13.11 | 1332.26 | 6.39 | 12.75 | 20 | 6.328 | 17.402 | 11:14
| 30649 | 400 | 2.461 | 3.226 | 0.765 | 32.26 | 1380.41 | 6.62 | 19.73 | 1338.69 | 6.43 | 19.18 | 22 | 6.9608 | 24.3628 | 11:16
| 31049 | 400 | 3.167 | 3.941 | 0.774 | 39.41 | 1387.09 | 6.68 | 26.41 | 1345.19 | 6.5 | 25.68 | 18 | 5.6952 | 30.058 | 11:18
| 31449 | 400 | 3.897 | 4.66 | 0.763 | 46.6 | 1393.78 | 6.69 | 33.1 | 1351.7 | 6.51 | 32.19 | 21 | 6.6444 | 36.7024 | 11:20
| 31849 | 400 | 4.61 | 5.37 | 0.76 | 53.7 | 1400.51 | 6.73 | 39.83 | 1358.24 | 6.54 | 38.73 | 21 | 6.6444 | 43.3468 | 11:21
| 32249 | 400 | 5.29 | 6.08 | 0.79 | 60.8 | 1407.25 | 6.74 | 46.57 | 1364.8 | 6.56 | 45.29 | 20 | 6.328 | 49.6748 | 11:22
| 32649 | 400 | 6.02 | 6.78 | 0.76 | 67.8 | 1414.03 | 6.78 | 53.35 | 1371.39 | 6.59 | 51.88 | 21 | 6.6444 | 56.3192 | 11:24
| 33049 | 400 | 6.7 | 7.53 | 0.83 | 75.3 | 1421.03 | 7 | 60.35 | 1378.2 | 6.81 | 58.69 | 21 | 6.6444 | 62.9636 | 11:25 | fringes shifted to the left then resumed back to the right
| 33449 | 400 | 7.45 | 8.37 | 0.92 | 83.7 | 1428.99 | 7.96 | 68.31 | 1385.94 | 7.74 | 66.43 | 24 | 7.5936 | 70.5572 | 11:27
$H:S:33449:-2:33049:70^ | 33049 | -400 | 8.29 | 6.8 | -1.49 | 68 | 1421.02 | -7.97 | 60.34 | 1378.2 | -7.74 | 58.69 | -24 | -7.5936 | 62.9636 | 11:29
| 32649 | -400 | 6.82 | 5.73 | -1.09 | 57.3 | 1414.01 | -7.01 | 53.33 | 1371.39 | -6.81 | 51.88 | -22 | -6.9608 | 56.0028 | 11:31 | fringes shifted to the right then resumed back to shifting left
| 32249 | -400 | 5.75 | 4.77 | -0.98 | 47.7 | 1407.23 | -6.78 | 46.55 | 1364.81 | -6.58 | 45.3 | -20 | -6.328 | 49.6748 | 11:33
| 31849 | -400 | 4.79 | 3.9 | -0.89 | 39 | 1400.49 | -6.74 | 39.81 | 1358.26 | -6.55 | 38.75 | -20 | -6.328 | 43.3468 | 11:34
| 31449 | -400 | 3.92 | 3.079 | -0.841 | 30.79 | 1393.76 | -6.73 | 33.08 | 1351.73 | -6.53 | 32.22 | -20 | -6.328 | 37.0188 | 11:36
| 31049 | -400 | 3.12 | 2.328 | -0.792 | 23.28 | 1387.08 | -6.68 | 26.4 | 1345.25 | -6.48 | 25.74 | -20 | -6.328 | 30.6908 | 11:37
| 30649 | -400 | 2.371 | 1.604 | -0.767 | 16.04 | 1380.41 | -6.67 | 19.73 | 1338.77 | -6.48 | 19.26 | -20 | -6.328 | 24.3628 | 11:39
$H:S:30649:-2:30249:70^ | 30249 | -400 | 1.66 | 0.907 | -0.753 | 9.07 | 1373.81 | -6.6 | 13.13 | 1332.37 | -6.4 | 12.86 | -20 | -6.328 | 18.0348 | 11:41
$H:S:30249:-2:29849:70^ | 29849 | -400 | 0.965 | 0.256 | -0.709 | 2.56 | 1367.27 | -6.54 | 6.59 | 1326.01 | -6.36 | 6.5 | -19 | -6.0116 | 12.0232 | 11:43
$H:S:29849:-2:29449:70^ | 29449 | -400 | 0.307 | -0.372 | -0.679 | -3.72 | 1360.76 | -6.51 | 0.08 | 1319.69 | -6.32 | 0.18 | -22 | -6.9608 | 5.0624 | 11:44
$H:S:29449:-2:29049:70^ | 29049 | -400 | -0.318 | -0.977 | -0.659 | -9.77 | 1354.29 | -6.47 | -6.39 | 1313.41 | -6.28 | -6.1 | -19 | -6.0116 | -0.9492 | 11:46
$H:S:29049:-2:28649:70^ | 28649 | -400 | -0.901 | -1.568 | -0.667 | -15.68 | 1347.94 | -6.35 | -12.74 | 1307.25 | -6.16 | -12.26 | -19 | -6.0116 | -6.9608 | 11:48
$H:S:28649:-2:28249:70^ | 28249 | -400 | -1.494 | -2.237 | -0.743 | -22.37 | 1340.71 | -7.23 | -19.97 | 1300.23 | -7.02 | -19.28 | -22 | -6.9608 | -13.9216 | 11:50