## 20220628
| Cab.Bridge | V(PZT) | M-E Sensor |  | Fringes | Time | Notes
| (bit) | (monitor) | (microns)
Balance C-Bridge: $H:Z^ | 31256 | 0.695 | 1163.73 | +/-0.01 |  | 1:37:xx
$H:S:31256:2:31656:70^ | [6 empty] | Nothing occuring with serial monitor

## 20220630
|  |  | Helium-Neon laser wavelength: | λ (HeNe) | 0.6328 µm
|  |  | HIRMES High-Resolution Long-Wavelength FPI: | with direct PZT drive & without motion multiplier
|  |  | Arduino v.1.8.15 | Program Title: | Bridge_Controller_GSFC_testing | Notes: | Arduino DAQ Stepping Program, program allows you to make voltage steps. Use BNC capacitor bridge feedback cable concurrently to stabilize step size
|  |  | Micro-Epsilon details: | No corresponding M-E raw data file
| Cab.Bridge | Voltage Steps | V(PZT) | real_V | M-E Sensor |  | ME_D | ME_A_dis | Fringes | fringe_D | fringe_A_dis | Time | Notes
| (bit) |  | (monitor) |  | (microns)
Balance C-Bridge: $H:Z^ | 31023 |  | 0.428 | 4.28 | 1159.9 | +/-0.01 | [5 empty] | 3:42
$H:S:31023:2:31423:70^ | 31423 | 400 | 1.478 | 14.78 | 1166.59 |  | 6.69 | 6.69 | 20 | 6.328 | 6.328 | 3:44
| 31823 | 400 | 2.276 | 22.76 | 1173.38 |  | 6.79 | 13.48 | 21 | 6.6444 | 12.9724 | 3:45
| 32223 | 400 | 3.046 | 30.46 | 1180.14 |  | 6.76 | 20.24 | 21 | 6.6444 | 19.6168 | 3:47
$H:S:32223:2:32623:70^ | 32623 | 400 | 3.782 | 37.82 | 1186.93 |  | 6.79 | 27.03 | 19 | 6.0116 | 25.6284 | 3:49
$H:S:32623:2:33023:70^ | 33023 | 400 | 4.46 | 44.6 | 1193.89 |  | 6.96 | 33.99 | 11 | 3.4804 | 29.1088 | 3:51 | jitter happened, fringes moved in opposite direction then shifted to the right as normal
$H:S:33023:2:33423:70^ | 33423 | 400 | 5.36 | 53.6 | 1201.88 |  | 7.99 | 41.98 | 19 | 6.0116 | 35.1204 | 3:53
$H:S:33423:2:33823:70^ | 33823 | 400 | 6.19 | 61.9 | 1209.9 |  | 8.02 | 50 | 20 | 6.328 | 41.4484 | 3:55
$H:S:33823:2:34223:70^ | 34223 | 400 | 7.03 | 70.3 | 1217.97 |  | 8.07 | 58.07 | 20 | 6.328 | 47.7764 | 3:57
$H:S:34223:2:34623:70^ | 34623 | 400 | 7.87 | 78.7 | 1226.07 |  | 8.1 | 66.17 | 22 | 6.9608 | 54.7372 | 3:59
$H:S:34623:2:35023:70^ | 35023 | 400 | 8.75 | 87.5 | 1234.25 |  | 8.18 | 74.35 | 23 | 7.2772 | 62.0144 | 4:00
$H:S:35023:-2:34623:70^ | 34623 | -400 | 7.15 | 71.5 | 1226.09 |  | -8.16 | 66.19 | -25 | -7.91 | 54.1044 | 4:02
$H:S:34623:-2:34223:70^ | 34223 | -400 | 5.92 | 59.2 | 1218 |  | -8.09 | 58.1 | -24 | -7.5936 | 46.5108 | 4:05
$H:S:34223:-2:33823:70^ | 33823 | -400 | 4.81 | 48.1 | 1209.94 |  | -8.06 | 50.04 | -26 | -8.2264 | 38.2844 | 4:06
$H:S:33823:-2:33423:70^ | 33423 | -400 | 3.78 | 37.8 | 1201.9 |  | -8.04 | 42 | -25 | -7.91 | 30.3744 | 4:08
$H:S:33423:-2:33023:70^ | 33023 | -400 | 2.856 | 28.56 | 1193.9 |  | -8 | 34 | -25 | -7.91 | 22.4644 | 4:10
$H:S:33023:-2:32623:70^ | 32623 | -400 | 2.115 | 21.15 | 1186.95 |  | -6.95 | 27.05 | -25 | -7.91 | 14.5544 | 4:12 | jitter happened, fringes shifted opposite to the right, then moved back to left as normal
$H:S:32623:-2:32223:70^ | 32223 | -400 | 1.376 | 13.76 | 1180.17 |  | -6.78 | 20.27 | -25 | -7.91 | 6.6444 | 4:14
$H:S:32223:-2:31823:70^ | 31823 | -400 | 0.705 | 7.05 | 1173.42 |  | -6.75 | 13.52 | -23 | -7.2772 | -0.6328 | 4:17
$H:S:31823:-2:31423:70^ | 31423 | -400 | 0.074 | 0.74 | 1166.69 |  | -6.73 | 6.79 | -23 | -7.2772 | -7.91 | 4:18 | fringes would move in a slow jerky motion
$H:S:31423:-2:31023:70^ | 31023 | -400 | -0.592 | -5.92 | 1160 |  | -6.69 | 0.1 | -24 | -7.5936 | -15.5036 | 4:20

## 20220701
Helium-Neon laser wavelength: | λ (HeNe) | 0.6328 µm |  | Range of dist. between each fringe: 0.3 µm
HIRMES High-Resolution Long-Wavelength FPI: | with direct PZT drive & without motion multiplier
Arduino v.1.8.15 | Program Title: | Bridge_Controller_GSFC_testing | Notes: | Arduino DAQ Stepping Program, program allows you to make voltage steps. Use BNC capacitor bridge feedback cable concurrently to stabilize step size
Micro-Epsilon details:
Software used: DT6200 Tool | Target Capacitive Spacing: | Physical Measurement of Cap Spacing: | Sample time: 9600 µs | Measurement rate: 104.167 Hz
| 300µm | 254µm
0.001"
Corresponding Raw M-E Time Series Data File: | Sample_0012022-07-01 10.47.08.042_A0000.csv
Notes on Corresponding M-E Time Series Data Files: | Data file ranges only for data points ranging from 10:47-11:22 in this data sheet
Channel 1
Controller name: DT6220 | Controller serial number: 2073 | Controller software version: 1.2d | Controller option: 0 | Controller article number: 4105032 | Firmware version: DT6200;V1.4f;8010079 | Average type: 3 | Average count: 7
DAQ-Start-Time: 2022-07-01 10:30:42.906 | Sensor name: DL6230/ECL2 | Serial number: 1439 | Article number: 2303024 | Range: 2000 | Unit: µm | Transmission: on | Math offset (µm): 0.000
First Protocol Time Stamp: 7/1/2022 10:47:08 AM | Sample time: 9600 µs | Measurement rate: 104.167 Hz
Last Protocol Time Stamp: 7/1/2022 11:23:31 AM
| Cab.Bridge | Voltage steps | V(PZT) | real_V | M-E Sensor |  | ME_D | ME_A_dis | Fringes | Fringe_D | fringe_A_dis | Time | Notes
| (bit) |  | (monitor) |  | (microns)
Balance C-Bridge: $H:Z^ | 31337 |  | 0.784 | 7.84 | 1165.3 | +/-0.01 | [5 empty] | 10:35
$H:S:31337:2:31737:70^ | 31737 | 400 | 1.826 | 18.26 | 1172.02 |  | 6.72 | 6.72 | 19 | 6.0116 | 6.0116 | 10:38
| 32137 | 400 | 2.615 | 26.15 | 1178.8 |  | 6.78 | 13.5 | 22 | 6.9608 | 12.9724 | 10:40
| 32537 | 400 | 3.372 | 33.72 | 1185.52 |  | 6.72 | 20.22 | 20 | 6.328 | 19.3004 | 10:42
| 32937 | 400 | 4.12 | 41.2 | 1192.25 |  | 6.73 | 26.95 | 21 | 6.6444 | 25.9448 | 10:44 | Jitter happened, fringes shifted quickly to the left, then resumed shifting to the right at a normal speed
| 33337 | 400 | 4.99 | 49.9 | 1200.28 |  | 8.03 | 34.98 | 20 | 6.328 | 32.2728 | 10:46
| 33737 | 400 | 5.86 | 58.6 | 1208.29 |  | 8.01 | 42.99 | 20 | 6.328 | 38.6008 | 10:47 | Where M-E protocol was turned on
| 34137 | 400 | 6.72 | 67.2 | 1216.34 |  | 8.05 | 51.04 | 23 | 7.2772 | 45.878 | 10:49
| 34537 | 400 | 7.56 | 75.6 | 1224.42 |  | 8.08 | 59.12 | 20 | 6.328 | 52.206 | 10:51
| 34937 | 400 | 8.44 | 84.4 | 1232.58 |  | 8.16 | 67.28 | 24 | 7.5936 | 59.7996 | 10:54
| 35337 | 400 | 9.33 | 93.3 | 1240.79 |  | 8.21 | 75.49 | 25 | 7.91 | 67.7096 | 10:57
| 34937 | -400 | 7.72 | 77.2 | 1232.59 |  | -8.2 | 67.29 | -26 | -8.2264 | 59.4832 | 10:58
| 34537 | -400 | 6.44 | 64.4 | 1224.44 |  | -8.15 | 59.14 | -26 | -8.2264 | 51.2568 | 11:00
| 34137 | -400 | 5.32 | 53.2 | 1216.36 |  | -8.08 | 51.06 | -25 | -7.91 | 43.3468 | 11:02
| 33737 | -400 | 4.31 | 43.1 | 1208.31 |  | -8.05 | 43.01 | -25 | -7.91 | 35.4368 | 11:04
| 33337 | -400 | 3.366 | 33.66 | 1200.29 |  | -8.02 | 34.99 | -23 | -7.2772 | 28.1596 | 11:06
| 32937 | -400 | 2.461 | 24.61 | 1192.32 |  | -7.97 | 27.02 | -24 | -7.5936 | 20.566 | 11:08
| 32537 | -400 | 1.79 | 17.9 | 1185.61 |  | -6.71 | 20.31 | -19 | -6.0116 | 14.5544 | 11:10 | jitter, fringes shifted quickly to the right then went back to shifting to the left
| 32137 | -400 | 1.077 | 10.77 | 1178.82 |  | -6.79 | 13.52 | -21 | -6.6444 | 7.91 | 11:11
| 31737 | -400 | 0.409 | 4.09 | 1172.06 |  | -6.76 | 6.76 | -20 | -6.328 | 1.582 | 11:13
| 31337 | -400 | -0.214 | -2.14 | 1165.35 |  | -6.71 | 0.05 | -21 | -6.6444 | -5.0624 | 11:15
| 30937 | -400 | -0.872 | -8.72 | 1158.67 |  | -6.68 | -6.63 | -20 | -6.328 | -11.3904 | 11:16
| 30537 | -400 | -1.493 | -14.93 | 1151.99 |  | -6.68 | -13.31 | -21 | -6.6444 | -18.0348 | 11:19
| 30137 | -400 | -2.039 | -20.39 | 1145.37 |  | -6.62 | -19.93 | -19 | -6.0116 | -24.0464 | 11:22

## 20220706
Helium-Neon laser wavelength: | λ (HeNe) | 0.6328 µm |  | Range of dist. between each fringe: 0.3 µm
HIRMES High-Resolution Long-Wavelength FPI: | with direct PZT drive & without motion multiplier
Arduino v.1.8.15 | Program Title: | Bridge_Controller_GSFC_testing | Notes: | Arduino DAQ Stepping Program, program allows you to make voltage steps. Use BNC capacitor bridge feedback cable concurrently to stabilize step size
Micro-Epsilon details:
Software used: DT6200 Tool | Target Capacitive Spacing: | Physical Measurement of Cap Spacing: | Sample time: 9600 µs | Measurement rate: 104.167 Hz
| 300µm | 254µm
0.001"
Corresponding Raw M-E Time Series Data File: | Sample_0701222022-07-06 14.23.11.249_A0000.csv
Notes on Corresponding M-E Time Series Data Files: | File corresponds to consecutive part of data going up in voltage to decreasing in voltage, these data points occur between 2:23-3:31 in this datasheet
Channel 1
Controller name: DT6220 | Controller serial number: 2073 | Controller software version: 1.2d | Controller option: 0 | Controller article number: 4105032 |  | Firmware version: DT6200;V1.4f;8010079 | Average type: 3 | Average count: 7
DAQ-Start-Time: 2022-07-06 14:21:02.964 | Sensor name: DL6230/ECL2 | Serial number: 1439 | Article number: 2303024 | Range: 2000 |  | Unit: µm | Transmission: on | Math offset (µm): 0.000
First Protocol Time Stamp: 7/6/2022 2:23:11 PM | Sample time: 9600 µs | Measurement rate: 104.167 Hz
Last Protocol Time Stamp: 7/6/2022 3:31:38 PM
| Cab.Bridge | Voltage steps | V(PZT) | V(PZT) | Voltage_D | Voltage mean | real_V (after entering code) | M-E Sensor | ME_D | ME_A_dis | Fringes | Fringe_D | fringe_A_dis | Time | Notes
| (bit) |  | (monitor) |  |  |  |  | (microns)
|  |  | before entering code | after entering code
Balance C-Bridge: $H:Z^ | 31154 |  | -0.001 | 0.486 |  |  |  | 1161.5 | [5 empty] | 1:30
$H:S:31154:2:31554:70^ | 31554 | 400 | 0.497 | 1.552 | 1.066 |  |  | 1168.28 | 6.78 |  | 18 |  |  | 1:34
$H:S:31554:2:31954:70^ |  |  | 1.516 | [10 empty] | 1:36
after entering code, ME sensor doesn’t change and neither do the fringes move
Balance C-Bridge: $H:Z^ | 31037 |  | 0.025 | 0.299 |  |  |  | 1159.5 | [5 empty] | 1:51
$H:S:31037:2:31437:70^ | 31437 | 400 |  | 1.341 |  |  |  | 1166.21 | 6.71 |  | 16 |  |  | 1:54
$H:S:31437:2:31837:70^ | 31837 | 400 | 1.324 | 2.176 |  |  |  | 1172.97 | 6.76 |  | 17 |  |  | 1:56
$H:S:31837:2:32237:70^ | 32237 | 400 | 2.142 | 2.95 |  |  |  | 1179.77 | 6.8 |  | 12 |  |  | 1:58
$H:S:32237:2:32837:70^ | 32837 | 600 | 2.9 | 4.04 |  |  |  | 1189.6 | 9.83 |  | 21 |  |  | 2:00
$H:S:32837:2:33437:70^ | 33437 | 600 | 3.97 | 5.28 |  |  |  | 1201.54 | 11.94 |  | 25 |  |  | 2:02
$H:S:33437:2:34037:70^ | 34037 | 600 |  | 6.54 |  |  |  | 1213.58 | 12.04 |  | 25 |  |  | 2:06
$H:S:34037:2:34637:70^ |  |  | 6.45 | [10 empty] | 2:08 | code that I entered did not work again, turned off everything
Balance C-Bridge: $H:Z^ | 31327 |  | -0.002 | 0.788 |  |  | 7.88 | 1164.43 | [5 empty] | 2:23 | where corresponding M-E file starts
$H:S:31327:2:31937:70^ | 31937 | 610 | 0.788 | 2.278 | 1.49 |  | 22.78 | 1174.71 |  |  | 24 |  |  | 2:25
$H:S:31937:2:32537:70^ | 32537 | 600 | 2.228 | 3.412 | 1.134 |  | 34.12 | 1184.88 |  |  | 19 |  |  | 2:27
$H:S:32537:2:33137:70^ | 33137 | 600 | 3.368 | [10 empty] | 2:32
Balance C-Bridge: $H:Z^ | 31463 | [6 empty] | 1166.73 | [5 empty] | 2:38
$H:S:31463:2:33137:70^ | 33137 | 1674 | 1.032 | 4.48 |  |  | 44.8 | 1195.56 | 28.83 | 28.83 | 56 | 17.7184 | 17.7184 | 2:44
| 33537 | 400 | 4.42 | 5.33 | 0.85 |  | 53.3 | 1203.55 | 7.99 | 36.82 | 22 | 6.9608 | 24.6792 | 2:47
| 33937 | 400 | 5.26 | 6.16 | 0.83 |  | 61.6 | 1211.59 | 8.04 | 44.86 | 21 | 6.6444 | 31.3236 | 2:50
| 34337 | 400 |  | 6.96 | 0.8 |  | 69.6 | 1219.66 | 8.07 | 52.93 | 19 | 6.0116 | 37.3352 | 2:51
| 34737 | 400 | 6.88 | 7.82 | 0.86 |  | 78.2 | 1227.76 | 8.1 | 61.03 | 19 | 6.0116 | 43.3468 | 2:53
| 35137 | 400 | 7.74 | 8.68 | 0.86 |  | 86.8 | 1235.98 | 8.22 | 69.25 | 18 | 5.6952 | 49.042 | 2:55
| 35537 | 400 | 8.56 | 9.53 | 0.85 |  | 95.3 | 1244.24 | 8.26 | 77.51 | 19 | 6.0116 | 55.0536 | 2:57
| 35137 | -400 | 9.45 | 7.9 | -1.63 |  | 79 | 1235.98 | -8.26 | 69.25 | -26 | -8.2264 | 46.8272 | 2:59
| 34737 | -400 | 7.92 | 6.62 | -1.28 |  | 66.2 | 1227.78 | -8.2 | 61.05 | -25 | -7.91 | 38.9172 | 3:02
| 34337 | -400 | 6.65 | 5.48 | -1.14 |  | 54.8 | 1219.68 | -8.1 | 52.95 | -25 | -7.91 | 31.0072 | 3:04
| 33937 | -400 | 5.54 | 4.46 | -1.02 |  | 44.6 | 1211.62 | -8.06 | 44.89 | -23 | -7.2772 | 23.73 | 3:07
| 33537 | -400 | 4.51 | 3.505 | -0.955 |  | 35.05 | 1203.58 | -8.04 | 36.85 | -26 | -8.2264 | 15.5036 | 3:09
| 33137 | -400 | 3.578 | 2.626 | -0.879 |  | 26.26 | 1195.58 | -8 | 28.85 | -24 | -7.5936 | 7.91 | 3:11
| 32737 | -400 | 2.692 | 1.869 | -0.757 |  | 18.69 | 1188.3 | -7.28 | 21.57 | -23 | -7.2772 | 0.6328 | 3:14
| 32337 | -400 | 1.951 | 1.193 | -0.676 |  | 11.93 | 1181.51 | -6.79 | 14.78 | -21 | -6.6444 | -6.0116 | 3:17 | jitter happened
| 31937 | -400 | 1.25 | 0.538 | -0.655 |  | 5.38 | 1174.74 | -6.77 | 8.01 | -18 | -5.6952 | -11.7068 | 3:19
| 31537 | -400 | 0.623 | -0.073 | -0.611 |  | -0.73 | 1168 | -6.74 | 1.27 | -21 | -6.6444 | -18.3512 | 3:21
$H:S:31537:-2:31137:70^ | 31137 | -400 | 0.004 | -0.655 | -0.582 |  | -6.55 | 1161.3 | -6.7 | -5.43 | -20 | -6.328 | -24.6792 | 3:23
$H:S:31137:-2:30737:70^ | 30737 | -400 | -0.577 | -1.208 | -0.553 |  | -12.08 | 1154.63 | -6.67 | -12.1 | -21 | -6.6444 | -31.3236 | 3:24
$H:S:30737:-2:30337:70^ | 30337 | -400 | -1.118 | -1.733 | -0.525 |  | -17.33 | 1147.98 | -6.65 | -18.75 | -20 | -6.328 | -37.6516 | 3:28
$H:S:30337:-2:29937:70^ | 29937 | -400 | -1.616 | -2.227 | -0.494 |  | -22.27 | 1141.39 | -6.59 | -25.34 | -20 | -6.328 | -43.9796 | 3:31